窗体顶端 FEATURES 窗体底端 Improved instrument accuracy, processing speed and response time Frequency, period or counter modes Accepts bi-directional sensor inputs, decodes quadrature or direction signal logic 126 x 64 pixel LCD backlit display for speed, units, alarm status, security and programming (TACHTROL series) 4 relays with user-defined set points and behavior Analog output: 0 or 4 - 20mA, -20 to +20mA with use of bi-directional sensor Two programming methods: Front panel on display or USB2.0 connectivity to PC / Windows-based GUI (Graphical User Interface) Utility RS485 communication allows full GUI function (up to 8000 ft) Drives up to 8 remote displays (TTplus) Wide range of AC or DC power Environmentally hardened for temperature, vibration and shock EMC / CE compliant to current BS EN directives. RoHS Compliant