T77410-P STACKTACH PENDANT by AI-Tek (Airpax) AI-TECH (AIRPAX) , Programming Pendant - Required for configuring STACKTACH

T77410-10 STACKTACH by AI-Tek(Airpax) AI-TECH (AIRPAX) STACKTACH, 35 mm Din rail mounted field programmable tachometer with one relay and single 0 - 20/4 - 20 ma output, Power 24 VDC, Input: Ac Sine Wave or TTL Pulse, - Requires program pendant SPECIFICATIONS