T77510-10 Tach-Pak 10 Zero Speed Switch

The AI-Tek (Airpax) TachPak 10 is the new generation of Zero Speed Switches offered by Automatic Controls on line catalog. 
Mounting: DIN Rail
Power: 80 - 264 AC, 12 - 30 DC
Output: 2 Mechanical Relays
Configuration: USB/ TACHLINK 
Call for more details