T77530-10 A.I.Tek TACHPAK 30

New Generation Digital Tachometer incorporates the same features as the T77430-11 Tach-Pak 3 with 
* Improved instrument accuracy, processing speed and response time 
* Frequency, period or counter modes 
* Two solid state relays and two mechanical relays
* Analog Output: 0-20mA, 4-20mA, -20-0-(+)20mA (can be used with bi-directional sensor)
* Utility RS485 communication allows full TECHLINK function over longer distances (up to 8000 ft)
* Accepts bi-directional sensor inputs, decodes quadrature or direction signal logic 
* Two programming methods: Front panel on display or USB2.0 connectivity to PC / Windows-based GUI 
* Drives up to 8 remote displays (TTplus) 
* Wide range of AC or DC power (80 to 264 VAC and 12 - 30 VDC)
* Environmentally hardened for temperature, vibration and shock 
* EMC / CE compliant to current BS EN directives. 
* RoHS Compliant