窗体顶端 FEATURES; 窗体底端. - Improved instrument accuracy, processing speed and response time - Frequency, period or counter modes - Accepts bi-directional sensor inputs, decodes quadrature or direction signal logic - 126 x 64 pixel LCD backlit display for speed, units, alarm status, security and programming (TACHTROL series) - 4 relays with user-defined set points and behavior - Analog output: 0 or 4 - 20mA, -20 to +20mA with use of bi-directional sensor; - Two programming methods: Front panel on display or USB2.0 connectivity to PC / Windows-based GUI (Graphical User Interface) - Utility RS485 communication allows full GUI function (up to 8000 ft) - Drives up to 8 remote displays (TTplus) - Wide range of AC or DC power - Environmentally hardened for temperature, vibration and shock - EMC / CE compliant to current BS EN directives. - RoHS Compliant.